## Assumptions
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
MALO PRIMARY SCHOOLS
Study undertaken in November 2017
RENOVATION ASSUMPTIONS
1 | Actual student numbers and classes are as per VEMIS Baseline Infrastructure Survey in year 2016.
2 | Student Capacity is based on MoET Minimum standards - 1.65 M2 /student.
3 | Condition of buildings are as described in VEMIS.
4 | All cost are in Vatu.
5 | Renovation cost is cost to bring the building up to a "Very Good" standard (as per the condition description used for VEMIS). To meet minimum standards a 'Good" condition will suffice. This would reduce the renovation costs indicated by around 25%
6 | Renovation cost elemental unit rates are based on an anaylsis of classroom building costs for the VESP classrooms constructed on Tanna.
7 | Elemental % breakdown is per industry standard.
8 | Elemental rates are as follows:
BUILDING COST BREAKDOWN
|  | ELEMENT |  | m2 cost
|  | foundation | 25% | 21250
|  | wall structure | 15% | 12750
|  | walling | 10% | 8500
|  | roof structure | 10% | 8500
|  | ceilings | 5% | 4250
|  | roofing | 5% | 4250
|  | doors/shutters | 15% | 12750
|  | painting | 5% | 4250
|  | cyclone proofing | 10% | 8500
|  |  | 100% | 85000
|  | fittings (BB/PB/Cupbd) | 200000
|  | 5000l tank+ foundation | 320000
For new buildings add V5,000/m2 for builders margin
9 | Replacement costs are based on replacing all buildings in the school ground with permant buildings constructed to a "Very Good" standard.
10 | Where renovation cost is more than 50% replacement cost then the renovation is uneconomic and the building should be demolished and replaced.
11 | Every school to have one building which is constructed to cyclonic Categorey 5 construction and can act as a community evacuation shelter during a cyclone.
12 | Every school to have at least one building and one toilet which complies with the Australian Aid Program's Accessibility Design Guidelines.
13 | Renovation cost / Student Capacity is the cost per student, based on the maximum student capacity that the school can support, to renovate the school teaching facilities to a "Very Good" standard.
14 | Where the number of students at any school exceeds the maximum number of places determined by the minimum standards then new buildings are proposed for the school that meet cyclonic and acccessibility standards and are similar to the buildings provided by VESP for the Tanna reconstruction program. Two building types are proposed:
Single classroom for 30 students (50m2)
Double classroom for 60 students (97m2) - 30 per classroom.
15 | Maximum no of students per Classroom is 30
16 | Conversion rate VUV/AUD used is V80/$1

## Summary
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
MALO PRIMARY SCHOOLS
RENOVATION SUMMARY (VUV)
SCHOOL |  | STUDENTS |  | CLASSES |  | COSTS |  | Reno per |  |  | CAT5 CYCLONE RESISTANT BUILDING (VUV)
| actual | capacity | over |  | Renovation | New | TOTAL | Capacity | Replacement | Rehab | New Single | New Double | Reno
|  |  | capacity by |  | (VUV) | Buildings | (VUV) | Student | Cost (VUV) | % | (30 Student) | (60 Student) | Double
NAJARAIWELU PS | 76 | 94 | 18 | 3 | 5055650 | 0 | 5055650 | 53783.5106 | 29070000 | 17.39% |  |  | 1842400
ALOWARU PS | 88 | 122 | 34 | 4 | 8480500 | 4850000 | 13330500 | 201977.2727 | 35535000 | 37.51% | 4850000
TAHARO PS | 34 | 60 | 26 | 2 | 1100000 | 9330000 | 10430000 | 306764.7059 | 18850000 | 55.33% |  | 9330000
NAVIARU PS | 27 | 30 | 3 | 2 | 1775000 | 4850000 | 6625000 | 245370.3704 | 13350000 | 49.63% | 4850000
AVUNATARI PS | 120 | 240 | 120 | 6 | 13262475 | 0 | 13262475 | 110520.625 | 83470000 | 15.89% |  |  | 400000
NANUHU PS | 145 | 170 | 25 | 5 | 13045425 | 0 | 13045425 | 89968.4483 | 45135000 | 28.9% |  |  | 6185125
AMBAKURA PS | 48 | 78 | 30 | 3 | 2006825 | 4850000 | 6856825 | 142850.5208 | 23465000 | 29.22% | 4850000
JINAURE PS | 224 | 238 | 14 | 9 | 7232337.5 | 9530000 | 16762337.5 | 74831.8638 | 63675000 | 26.32% |  | 9530000
| 762 | 1032 | 270 | 34 | 51958212.5 | 33410000 | 85368212.5 |  | 312550000 | 27.31% |  | Total Cost of Cyclone Resistant Buildings: | 41837525
|  | percentage over capacity | 26.16% |  |  |  | average/student (VUV) | 82721.1361
Cost of minimum standard renovation and semi permanent new construction |  |  |  |  | 38968659.375 | 20046000 | 59014659.375 | 57184.7475 |  | 18.88%
RENOVATION SUMMARY (AUD)
SCHOOL |  | STUDENTS |  | CLASSES |  | COSTS |  | Reno per
| actual | capacity | over |  | Renovation | New | TOTAL | Capacity | Replacement | Rehab | New Single | New Double | Reno
|  |  | capacity by |  | (AUD) | Buildings | (AUD) | Student | Cost (AUD) | % | (25 Student) | (50 Student) | Double
NAJARAIWELU PS | 76 | 94 | 18 | 3 | 63195.625 | 0 | 63195.625 | 672.2939 | 363375 | 0.17391 |  |  | 23030
ALOWARU PS | 88 | 122 | 34 | 4 | 106006.25 | 60625 | 166631.25 | 2524.7159 | 444187.5 | 0.37514
TAHARO PS | 34 | 60 | 26 | 2 | 13750 | 116625 | 130375 | 3834.5588 | 235625 | 0.55332 |  | 116625
NAVIARU PS | 27 | 30 | 3 | 2 | 22187.5 | 60625 | 82812.5 | 3067.1296 | 166875 | 0.49625
AVUNATARI PS | 120 | 240 | 120 | 6 | 165780.9375 | 0 | 165780.9375 | 1381.5078 | 1043375 | 0.15889 |  |  | 5000
NANUHU PS | 145 | 170 | 25 | 5 | 163067.8125 | 0 | 163067.8125 | 1124.6056 | 564187.5 | 0.28903 |  |  | 77314.0625
AMBAKURA PS | 48 | 78 | 30 | 3 | 25085.3125 | 60625 | 85710.3125 | 1785.6315 | 293312.5 | 0.29222 | 60625
JINAURE PS | 224 | 238 | 14 | 9 | 90404.2188 | 119125 | 209529.2188 | 935.3983 | 795937.5 | 0.26325 |  | 119125
| 762 | 1032 | 270 | 34 | 649477.6562 | 417625 | 1067102.6562 |  | 3906875 | 27.31% |  | Total Cost of Cyclone Resistant Buildings: | 401719.0625
|  | percentage over capacity | 26.16% |  |  |  | average/student (AUD) | 1034.0142
Cost of minimum standard renovation and semi permanent new construction |  |  |  |  | 487108.2422 | 250575 | 737683.2422 | 714.8093 |  | 18.88%

## Najaraiwelu
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
NAJARAIWELU PS
STUDENTS |  | 76 | YR 1 | 14
|  |  | YR 2 | 14
|  |  | YR 3 | 2
|  |  | YR 4 | 17
|  |  | YR 5 | 12
|  |  | YR 6 | 17
TEACHERS |  | 3
CLASSES |  | 3
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1-Double Classrm - SP-Poor |  | 67 |  |  |  | 2713250 | 5695000 | 47.64% | 19 | 19
foundation | m2 | 67 | 0% | 21250 | 0
wall structure | m2 | 67 | 50% | 8500 | 284750
walling | m2 | 67 | 50% | 8500 | 284750
roof structure | m2 | 67 | 100% | 8500 | 569500
ceilings | m2 | 67 | 100% | 4250 | 284750
roofing | m2 | 67 | 100% | 4250 | 284750
doors/shutters | m2 | 67 | 0% | 17000 | 0
painting | m2 | 67 | 100% | 4250 | 284750
cyclone proofing | m2 | 67 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 1 | 100% | 320000 | 320000
B2 Staff House - SP Good/Fair |  | 40 |  |  |  | 0 | 3400000
B3 Dorm - SP Fair |  | 78 |  |  |  | 0 | 6630000
B4 Double Classroom - P Good |  | 119 |  |  |  | 1842400 | 10115000 | 18.21% | 28 | 28
cyclone proofing | m2 | 119 | 100% | 9600 | 1142400
fittings (BB/PB/Cupbd) | clrm | 2 | 75% | 200000 | 300000
disabled access | clrm | 2 | 100% | 200000 | 400000
B5 Kindy Classroom-SP-Fair/Poor |  | 38 |  |  |  | 0 | 3230000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 100000
Sign Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION |  |  |  |  | 5055650 | 5055650 | 29070000 | 17.39% | 47 | 47
[5 empty] | AUD | 63195.625 | 363375 |  | student total | 94
[5 empty] | VUV | 53783.5106 |  |  | actual no | 76
672.2939

## Alowaru
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
ALOWARU PS
STUDENTS |  | 88 | YR 1 | 25 |  | YR 4 | 6
|  |  | YR 2 | 23 |  | YR 5 | 7
|  |  | YR 3 | 17 |  | YR 6 | 10
TEACHERS |  | 5 |  |  | CLASSES |  | 4
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1-Library/Classrm - P-Good/Fair |  | 72 |  |  |  | 1685200 | 6120000 | 27.54% | 22 | 22
foundation | m2 | 72 | 0% | 21250 | 0
wall structure | m2 | 72 | 10% | 8500 | 61200
walling | m2 | 72 | 10% | 8500 | 61200
roof structure | m2 | 72 | 80% | 8500 | 489600
ceilings | m2 | 72 | 100% | 4250 | 306000
roofing | m2 | 72 | 20% | 4250 | 61200
doors/shutters | m2 | 72 | 0% | 17000 | 0
painting | m2 | 72 | 100% | 4250 | 306000
cyclone proofing | m2 | 72 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B2-Admin//Classrm - SP-Good/Fair |  | 107 |  |  |  | 3674200 | 9095000 | 40.4% | 24 | 24
foundation | m2 | 107 | 0% | 21250 | 0
wall structure | m2 | 107 | 50% | 8500 | 454750
walling | m2 | 107 | 50% | 8500 | 454750
roof structure | m2 | 107 | 50% | 8500 | 454750
ceilings | m2 | 107 | 0% | 4250 | 0
roofing | m2 | 107 | 20% | 4250 | 90950
doors/shutters | m2 | 107 | 75% | 17000 | 1364250
painting | m2 | 107 | 100% | 4250 | 454750
cyclone proofing | m2 | 107 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B3-Hall - SP-Good/Very Good |  | 66 |  |  |  | 336600 | 5610000 | 6%
foundation | m2 | 66 | 0% | 21250 | 0
wall structure | m2 | 66 | 0% | 8500 | 0
walling | m2 | 66 | 0% | 8500 | 0
roof structure | m2 | 66 | 60% | 8500 | 336600
ceilings | m2 | 66 | 0% | 4250 | 0
roofing | m2 | 66 | 0% | 4250 | 0
doors/shutters | m2 | 66 | 0% | 17000 | 0
painting | m2 | 66 | 0% | 4250 | 0
cyclone proofing | m2 | 66 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 0 | 100% | 200000 | 0
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B4 Tool Shed - SP Fair |  | 18 |  |  |  | 0 | 1530000
B5-Staff House SP-Fair |  | 30 |  |  |  | 1096500 | 2550000 | 43%
foundation | m2 | 30 | 0% | 21250 | 0
wall structure | m2 | 30 | 50% | 8500 | 127500
walling | m2 | 30 | 100% | 8500 | 255000
roof structure | m2 | 30 | 40% | 8500 | 102000
ceilings | m2 | 30 | 0% | 4250 | 0
roofing | m2 | 30 | 100% | 4250 | 127500
doors/shutters | m2 | 30 | 70% | 17000 | 357000
painting | m2 | 30 | 100% | 4250 | 127500
cyclone proofing | m2 | 30 | 0% | 8500 | 0
B6 Kindy - SP Poor |  | 28 |  |  |  | 0 | 2380000
B7-Staff House SP-Good Fair |  | 40 |  |  |  | 1088000 | 3400000 | 32%
foundation | m2 | 40 | 0% | 21250 | 0
wall structure | m2 | 40 | 50% | 8500 | 170000
walling | m2 | 40 | 50% | 8500 | 170000
roof structure | m2 | 40 | 30% | 8500 | 102000
ceilings | m2 | 40 | 0% | 4250 | 0
roofing | m2 | 40 | 0% | 4250 | 0
doors/shutters | m2 | 40 | 70% | 17000 | 476000
painting | m2 | 40 | 100% | 4250 | 170000
cyclone proofing | m2 | 40 | 0% | 8500 | 0
NEW SINGLE CLASSROOM |  | 50 |  |  |  | 4850000 | 4850000 | 100% | 30
New cyclone proof bldg with disabled access |  | 50 | 100% | 90000 | 4500000
fittings (BB/PB/Cupbd) | clrm | 1 | 75% | 200000 | 150000
Water Tanks | clrm | 1 | 100% | 200000 | 200000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 200000
Sign Board | no | 1 | 100% | 100000 | 100000
Public Notice Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION |  |  |  |  | 13330500 | 13330500 | 35535000 | 37.51% | 76 | 46
[5 empty] | AUD | 166631.25 | 444187.5 |  | student total | 122
[6 empty] | 201977.2727 |  |  | actual no | 88
2524.7159

## Taharo
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
TAHARO PS
STUDENTS |  | 34
TEACHERS |  | 1
CLASSES |  | 2
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1-Double Classrm - P-G/F |  | 75 |  |  |  | 3755625 | 6375000 | 58.91% | DEMOLISH
foundation | m2 | 75 | 0% | 21250 | 0
wall structure | m2 | 75 | 10% | 8500 | 63750
walling | m2 | 75 | 25% | 8500 | 159375
roof structure | m2 | 75 | 100% | 8500 | 637500
ceilings | m2 | 75 | 0% | 4250 | 0
roofing | m2 | 75 | 100% | 4250 | 318750
doors/shutters | m2 | 75 | 80% | 17000 | 1020000
painting | m2 | 75 | 100% | 4250 | 318750
cyclone proofing | m2 | 75 | 100% | 8500 | 637500
disabled access | clrm | 1 | 100% | 200000 | 200000
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B2 Staff House - T Poor/Fair |  | 48 |  |  |  | 0 | 4080000
B3 Staff House - T Poor |  | 32 |  |  |  | 0 | 2720000
B4 Staff House - T Poor |  | 32 |  |  |  | 0 | 2720000
NEW DOUBLE CLASSROOM |  | 97 |  |  |  | 9330000 | 9330000 | 100% | 30 | 30
New cyclone proof bldg with disabled access | m2 | 97 | 100% | 90000 | 8730000
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
Water Tanks | clrm | 1 | 100% | 200000 | 200000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 700000
Fence | m | 400 | 100% | 1500 | 600000
Sign Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION | [5 empty] | 10430000 | 18850000 | 55.33% | 30 | 30
[5 empty] | AUD | 130375 | 235625 |  | student total | 60
[6 empty] | 306764.7059 |  |  | actual no | 34
3834.5588

## Naviaru
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
NAVIARU PS
STUDENTS |  | 27 | YR 1 | 5
|  |  | YR 2 | 12
|  |  | YR 3 | 10
TEACHERS |  | 1
CLASSES |  | 2
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1-Double Classrm - SP-Poor |  | 75 |  |  |  | 0 | 6375000 | 0% | DEMOLISH
B2 Kindy Classroom-SP-Poor |  | 23 |  |  |  | 0 | 1955000 | 0%
B3 Staff House - T Poor/Fair |  | 19 |  |  |  | 0 | 1615000
B4 Staff House - T Poor |  | 32 |  |  |  | 0 | 2720000
B4 Admin SP-G |  | 26 |  |  |  | 0 | 2210000
NEW SINGLE CLASSROOM |  | 50 |  |  |  | 4850000 | 4850000 | 100% | 30
New cyclone proof bldg with disabled access |  | 50 | 100% | 90000 | 4500000
fittings (BB/PB/Cupbd) | clrm | 1 | 75% | 200000 | 150000
Water Tanks | clrm | 1 | 100% | 200000 | 200000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 1375000
Fence | m | 850 | 100% | 1500 | 1275000
Notice Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION |  |  |  |  | 6625000 | 6625000 | 13350000 | 49.63% | 30 | 0
[5 empty] | AUD | 82812.5 | 166875 |  | student total | 30
[6 empty] | 245370.3704 |  |  | actual no | 27
3067.1296

## Avunatari
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
AVUNATARI PS
(Amalgamated with yrs 4,5,6 from Banaviti PS)
STUDENTS |  | 120 | YR 1 | 17 |  | YR 4 | 32
|  |  | YR 2 | 20 |  | YR 5 | 21
|  |  | YR 3 | 13 |  | YR 6 | 17
TEACHERS |  | 6 |  |  | CLASSES |  | 6
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1 Staff House - SP Good/Fair |  | 45 |  |  |  |  | 3825000
B2 Boys Dorm - SP Good/Fair |  | 90 |  |  |  |  | 7650000
B3 Double Classroom/Admin/Store - P- Very Good |  | 195 |  |  |  | 400000 | 16575000 | 2.413% | 30 | 30
cyclone proofing | m2 | 0 | 100% | 9600 | 0
fittings (BB/PB/Cupbd) | clrm | 0 | 75% | 200000 | 0
disabled access | clrm | 2 | 100% | 200000 | 400000
B4 Double Classroom/Library/Store -P- Good |  | 155 |  |  |  | 3265562.5 | 13175000 | 24.79% | 30 | 30
foundation | m2 | 155 | 0% | 21250 | 0
wall structure | m2 | 155 | 0% | 12750 | 0
walling | m2 | 155 | 20% | 8500 | 263500
roof structure | m2 | 155 | 10% | 8500 | 131750
ceilings | m2 | 155 | 100% | 4250 | 658750
roofing | m2 | 155 | 25% | 4250 | 164687.5
doors/shutters | m2 | 155 | 50% | 12750 | 988125
painting | m2 | 155 | 100% | 4250 | 658750
cyclone proofing | m2 | 155 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B5 Double Classroom - P- Good / Fair |  | 103 |  |  |  | 2960837.5 | 8755000 | 33.82% | 30 | 30
foundation | m2 | 103 | 0% | 21250 | 0
wall structure | m2 | 103 | 0% | 12750 | 0
walling | m2 | 103 | 40% | 8500 | 350200
roof structure | m2 | 103 | 40% | 8500 | 350200
ceilings | m2 | 103 | 0% | 4250 | 0
roofing | m2 | 103 | 25% | 4250 | 109437.5
doors/shutters | m2 | 103 | 100% | 12750 | 1313250
painting | m2 | 103 | 100% | 4250 | 437750
cyclone proofing | m2 | 103 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 0% | 320000 | 0
B6 Double Classroom - P- Good/Fair |  | 183 |  |  |  | 3277675 | 15555000 | 21.07% | 30 | 30
foundation | m2 | 183 | 0% | 21250 | 0
wall structure | m2 | 183 | 10% | 12750 | 233325
walling | m2 | 183 | 10% | 8500 | 155550
roof structure | m2 | 183 | 25% | 8500 | 388875
ceilings | m2 | 183 | 0% | 4250 | 0
roofing | m2 | 183 | 50% | 4250 | 388875
doors/shutters | m2 | 183 | 40% | 12750 | 933300
painting | m2 | 183 | 100% | 4250 | 777750
cyclone proofing | m2 | 183 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B7 Dining Hall - SP- Fair/Poor |  | 67 |  |  |  | 0 | 5695000
B8 Staff House - SP- Fair/Poor |  | 36 |  |  |  | 0 | 3060000
B9 Staff House - SP- Fair/Poor |  | 36 |  |  |  | 0 | 3060000
B10 Staff House - P- Good/Fair |  | 36 |  |  |  | 711450 | 3060000 | 23.25%
foundation | m2 | 36 | 0% | 21250 | 0
wall structure | m2 | 36 | 10% | 12750 | 45900
walling | m2 | 36 | 10% | 8500 | 30600
roof structure | m2 | 36 | 25% | 8500 | 76500
ceilings | m2 | 36 | 0% | 4250 | 0
roofing | m2 | 36 | 25% | 4250 | 38250
doors/shutters | m2 | 36 | 80% | 12750 | 367200
painting | m2 | 36 | 100% | 4250 | 153000
B11 Staff House - SP- Good/Fair |  | 36 |  |  |  | 1246950 | 3060000 | 40.75%
foundation | m2 | 36 | 0% | 21250 | 0
wall structure | m2 | 36 | 25% | 12750 | 114750
walling | m2 | 36 | 50% | 8500 | 153000
roof structure | m2 | 36 | 50% | 8500 | 153000
ceilings | m2 | 36 | 100% | 4250 | 153000
roofing | m2 | 36 | 100% | 4250 | 153000
doors/shutters | m2 | 36 | 80% | 12750 | 367200
painting | m2 | 36 | 100% | 4250 | 153000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 1000000
Fence | m | 600 | 100% | 1500 | 900000
Public Notice Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION | [5 empty] | 13262475 | 83470000 | 15.89% | 120 | 120
[5 empty] | AUD | 165780.9375 | 1043375 |  | student total | 240
[5 empty] | cost/student | 110520.625 |  |  | actual no | 120
1381.5078

## Nanuhu
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
NANUHU PS
(Amalgamated with yrs 1,2,3 from Banaviti PS)
STUDENTS |  | 145 | YR 1 | 36 |  | YR 4 | 11
|  |  | YR 2 | 36 |  | YR 5 | 24
|  |  | YR 3 | 26 |  | YR 6 | 12
TEACHERS |  | 5 |  |  | CLASSES |  | 5
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1 double classrm/Lib/Admin - P Good |  | 203 |  |  |  | 6185125 | 17255000 | 35.85% | 30 | 30
foundation | m2 | 203 | 0% | 21250 | 0
wall structure | m2 | 203 | 10% | 12750 | 258825
walling | m2 | 203 | 10% | 8500 | 172550
roof structure | m2 | 203 | 10% | 8500 | 172550
ceilings | m2 | 203 | 100% | 4250 | 862750
roofing | m2 | 203 | 20% | 4250 | 172550
doors/shutters | m2 | 203 | 20% | 12750 | 517650
painting | m2 | 203 | 100% | 4250 | 862750
cyclone proofing | m2 | 203 | 100% | 8500 | 1725500
disabled access | clrm | 2 | 100% | 200000 | 400000
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 2 | 100% | 320000 | 640000
B2 Staff House - P -Good |  | 64 |  |  |  | 952000 | 5440000 | 17.5%
foundation | m2 | 64 | 0% | 21250 | 0
wall structure | m2 | 64 | 10% | 12750 | 81600
walling | m2 | 64 | 10% | 8500 | 54400
roof structure | m2 | 64 | 10% | 8500 | 54400
ceilings | m2 | 64 | 100% | 4250 | 272000
roofing | m2 | 64 | 20% | 4250 | 54400
doors/shutters | m2 | 64 | 20% | 12750 | 163200
painting | m2 | 64 | 100% | 4250 | 272000
cyclone proofing | m2 | 64 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 0 | 100% | 200000 | 0
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B3 Staff House - SP- Poor |  | 24 |  |  |  | 0 | 2040000
B4 double classrm - P - Good/fair |  | 96 |  |  |  | 2603200 | 8160000 | 31.9% | 30 | 30
foundation | m2 | 96 | 0% | 21250 | 0
wall structure | m2 | 96 | 20% | 12750 | 244800
walling | m2 | 96 | 20% | 8500 | 163200
roof structure | m2 | 96 | 20% | 8500 | 163200
ceilings | m2 | 96 | 100% | 4250 | 408000
roofing | m2 | 96 | 20% | 4250 | 81600
doors/shutters | m2 | 96 | 60% | 12750 | 734400
painting | m2 | 96 | 100% | 4250 | 408000
cyclone proofing | m2 | 96 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B5 double classrm- P Good |  | 118 |  |  |  | 2105100 | 10030000 | 20.99% | 25 | 25
foundation | m2 | 118 | 0% | 21250 | 0
wall structure | m2 | 118 | 10% | 12750 | 150450
walling | m2 | 118 | 10% | 8500 | 100300
roof structure | m2 | 118 | 10% | 8500 | 100300
ceilings | m2 | 118 | 100% | 4250 | 501500
roofing | m2 | 118 | 10% | 4250 | 50150
doors/shutters | m2 | 118 | 20% | 12750 | 300900
painting | m2 | 118 | 100% | 4250 | 501500
cyclone proofing | m2 | 118 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B6 Staff House - SP- Good/Fair |  | 26 |  |  |  | 0 | 2210000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 800000
Sign Board | no | 1 | 100% | 100000 | 100000
Fence | m | 400 | 100% | 1500 | 600000
Public Notice Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION |  |  |  |  | 13045425 | 13045425 | 45135000 | 28.9% | 85 | 85
[5 empty] | AUD | 163067.8125 | 564187.5 |  | student total | 170
[5 empty] | cost/student | 89968.4483 |  |  | actual no | 145
1124.6056

## Ambakura
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
AMBAKURA PS
(Amalgamated with yrs 1,2,3 from Kitacu PS)
STUDENTS |  | 48 | YR 1 | 11
|  |  | YR 2 | 15
|  |  | YR 3 | 12
|  |  | YR 4 | 3
|  |  | YR 5 | 4
|  |  | YR 6 | 3
TEACHERS |  | 2
CLASSES |  | 3
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1 Admin/Store - P Good.Fair |  | 46 |  |  |  | 1406825 | 3910000 | 35.98%
foundation | m2 | 46 | 0% | 21250 | 0
wall structure | m2 | 46 | 10% | 12750 | 58650
walling | m2 | 46 | 10% | 8500 | 39100
roof structure | m2 | 46 | 10% | 8500 | 39100
ceilings | m2 | 46 | 25% | 4250 | 48875
roofing | m2 | 46 | 20% | 4250 | 39100
doors/shutters | m2 | 46 | 100% | 12750 | 586500
painting | m2 | 46 | 100% | 4250 | 195500
cyclone proofing | m2 | 46 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no |  | 100% | 320000 | 0
B2 Clrm 1/2/3 - SP Good/Fair |  | 40 |  |  |  |  | 3400000 |  | 24
B3 Clrm 4/5/6 - SP Good/Fair |  | 40 |  |  |  |  | 3400000 |  | 24
B5 Kindy Classroom-SP-Good/Fair |  | 36 |  |  |  | 0 | 3060000
B6 Hall- SP Good |  | 36 |  |  |  | 0 | 3060000
B7 Staff House SP Poor |  | 21 |  |  |  | 0 | 1785000
NEW SINGLE CLASSROOM |  | 50 |  |  |  | 4850000 | 4850000 | 100% | 30
New cyclone proof bldg with disabled access | m2 | 50 | 100% | 90000 | 4500000
fittings (BB/PB/Cupbd) | clrm | 1 | 75% | 200000 | 150000
Water Tanks | clrm | 1 | 100% | 200000 | 200000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 200000
Sign Board | no | 1 | 100% | 100000 | 100000
Public Notice Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION |  |  |  |  | 6856825 | 6856825 | 23465000 | 29.22% | 78 | 0
[5 empty] | AUD | 85710.3125 | 293312.5 |  | student total | 78
[6 empty] | 142850.5208 |  |  | actual no | 48
1785.6315

## Jinaure
VANUATU PRIMARY SCHOOL ASSET MANAGEMENT PLAN
ANNEX 2 : EXAMPLE OF INFRASTRUCTURE DATA COLLECTION AND ANALYSIS
JINAURE PS
(Amalgamated with yrs 3-6 from Kitacu PS and 1-6 from Amapelau PS)
STUDENTS |  | 224 | YR 1 | 27 | 25 | YR 4 | 35
|  |  | YR 2 | 28 |  | YR 5 | 28
|  |  | YR 3 | 21 | 25 | YR 6 | 35
TEACHERS |  | 9 |  |  | CLASSES |  | 9
RENOVATION COST
ELEMENT | unit | qty | % | rate | cost | TOTAL | replacement | % | students/clrm
B1-Double Classrm - YE 1/2/3 P VG/G |  | 111 |  |  |  | 1154800 | 9435000 | 12.24% | 30 | 30
foundation | m2 | 111 | 0% | 21250 | 0
wall structure | m2 | 111 | 20% | 8500 | 188700
walling | m2 | 111 | 10% | 8500 | 94350
roof structure | m2 | 111 | 20% | 8500 | 188700
ceilings | m2 | 111 | 0% | 4250 | 0
roofing | m2 | 111 | 10% | 4250 | 47175
doors/shutters | m2 | 111 | 10% | 17000 | 188700
painting | m2 | 111 | 10% | 4250 | 47175
cyclone proofing | m2 | 111 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B2-Single Classrm - YE 1/2/3 P G/F |  | 74 |  |  |  | 1988225 | 6290000 | 31.61% | 30
foundation | m2 | 74 | 0% | 21250 | 0
wall structure | m2 | 74 | 50% | 8500 | 314500
walling | m2 | 74 | 50% | 8500 | 314500
roof structure | m2 | 74 | 50% | 8500 | 314500
ceilings | m2 | 74 | 0% | 4250 | 0
roofing | m2 | 74 | 20% | 4250 | 62900
doors/shutters | m2 | 74 | 40% | 17000 | 503200
painting | m2 | 74 | 25% | 4250 | 78625
cyclone proofing | m2 | 74 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
5000l tank+ foundation | no | 0 | 100% | 320000 | 0
B3 Double classroom/Admin/Store - P - VG/G |  | 195 |  |  |  | 1521687.5 | 16575000 | 9.181% | 30 | 30
foundation | m2 | 195 | 0% | 21250 | 0
wall structure | m2 | 195 | 0% | 8500 | 0
walling | m2 | 195 | 0% | 8500 | 0
roof structure | m2 | 195 | 0% | 8500 | 0
ceilings | m2 | 195 | 25% | 4250 | 207187.5
roofing | m2 | 195 | 0% | 4250 | 0
doors/shutters | m2 | 195 | 25% | 17000 | 828750
painting | m2 | 195 | 20% | 4250 | 165750
cyclone proofing | m2 | 195 | 0% | 8500 | 0
disabled access | clrm | 0 | 100% | 200000 | 0
fittings (BB/PB/Cupbd) | clrm | 0 | 100% | 200000 | 0
5000l tank+ foundation | no | 1 | 100% | 320000 | 320000
B4 Staff House -SP Good/Fair |  | 50 |  |  |  | 1168750 | 4250000 | 27.5%
foundation | m2 | 50 | 0% | 21250 | 0
wall structure | m2 | 50 | 0% | 8500 | 0
walling | m2 | 50 | 50% | 8500 | 212500
roof structure | m2 | 50 | 50% | 8500 | 212500
ceilings | m2 | 50 | 0% | 4250 | 0
roofing | m2 | 50 | 50% | 4250 | 106250
doors/shutters | m2 | 50 | 50% | 17000 | 425000
painting | m2 | 50 | 100% | 4250 | 212500
cyclone proofing | m2 | 50 | 0% | 8500 | 0
fittings (BB/PB/Cupbd) | clrm | 0 | 0% | 200000 | 0
5000l tank+ foundation | no | 0 | 0% | 320000 | 0
B5 Staff House-T- - F/P |  | 30 |  |  |  |  | 2550000 | 0%
B6 Staff House - T-P |  | 40 |  |  |  |  | 3400000 | 0%
B7 Staff House -SP - Good |  | 40 |  |  |  |  | 3400000 | 0%
B8 Clrm - SP- Good/Fair |  | 47 |  |  |  | 898875 | 3995000 | 22.5% | 28
foundation | m2 | 47 | 0% | 21250 | 0
wall structure | m2 | 47 | 0% | 8500 | 0
walling | m2 | 47 | 20% | 8500 | 79900
roof structure | m2 | 47 | 20% | 8500 | 79900
ceilings | m2 | 47 | 0% | 4250 | 0
roofing | m2 | 47 | 0% | 4250 | 0
doors/shutters | m2 | 47 | 80% | 17000 | 639200
painting | m2 | 47 | 50% | 4250 | 99875
cyclone proofing | m2 | 47 | 0% | 8500 | 0
B9 Kindy Classroom-T-Poor |  | 50 |  |  |  | 0 | 4250000 | 0%
NEW DOUBLE CLASSROOM |  | 97 |  |  |  | 9530000 | 9530000 | 100% | 30 | 30
New cyclone proof bldg with disabled access | m2 | 97 | 100% | 90000 | 8730000
fittings (BB/PB/Cupbd) | clrm | 2 | 100% | 200000 | 400000
Water Tanks | clrm | 2 | 100% | 200000 | 400000
Toilets | [5 empty] | 400000
Disabled-SP | no | 1 | 100% | 400000 | 400000
School Security and Safety | [5 empty] | 100000
Notice Board | no | 1 | 100% | 100000 | 100000
TOTAL COST OF RENOVATION | [5 empty] | 16762337.5 | 63675000 | 26.32% | 148 | 90
[5 empty] | AUD | 209529.2188 | 795937.5 |  | student total | 238
[6 empty] | 74831.8638 |  |  | actual no | 224
935.3983